# Design Change 023

Increase BEAM-01 depth from 300 mm to 900 mm at Level 01.

DUCT-01 requires a coordinated reroute and targeted clash verification.

| Element | Revision | Instruction |
| --- | --- | --- |
| BEAM-01 | R2 | Enlarge beam |
| DUCT-01 | R3 | Reroute then verify |